点击Dry Lab图片显示表格

| Problem | HP Feedback → Improvement |
| --- | --- |
| Inefficient sequence screening and unstable low-copy signals | Prof. Tianyi Zhao’s advice → Introduced DNABERT-6 for systematic candidate-sequence screening. |
| Uncertain stability of crRNA–Cas12a binding | Prof. Xingfang Li’s advice → Added molecular dynamics simulations to prioritize promising candidates for wet-lab validation. |

点击Wet Lab显示表格

| Problem | HP Feedback → Improvement |
| --- | --- |
| Conventional PCR required complex equipment | Prof. X. Chris Le’s advice → Shifted to a portable one-pot RPA–CRISPR/Cas12a method. |
| One-pot reactions showed reduced activity and component interference | Prof. Tsan-Yuk Lam’s advice → Optimized Mg²⁺, pH, and primer–crRNA ratios with single-factor experiments and controls. |

点击Software显示表格：

| Problem | HP Feedback → Improvement |
| --- | --- |
| Weak fluorescence and background interference complicated signal reading | Prof. Yingtao Zhang’s advice → Used YOLOv8n + OpenCV for fluorescence recognition and background-noise reduction. |
| Multiple detection results were difficult to manage and display | Multichannel engineering and user needs → Updated the app for multi-tube recognition, fluorescence curves, and mobile results. |

点击 Hardware 显示表格：

| Problem | HP Feedback → Improvement |
| --- | --- |
| Laboratory reactions were difficult to reproduce in field settings | Prof. Zheng Hu’s advice → Integrated stable temperature control and fluorescence acquisition into a portable device. |
| Single-channel testing could not meet frontline multiplex needs | Nursing home and kindergarten feedback → Upgraded to a second-generation multichannel instrument. |
| More channels increased size and thermal-interference challenges | Prof. Ying Mou’s advice → Designed a rotating 15-position chamber with an independent, thermally isolated lysis region. |